Udder and Teat Surgery Specialty Instruments

Cornell Teat Curette

Lichty Teat Knife or Bistoury

Milking Tubes

Teat Dilator

Teat Slitter

Hug’s Teat Tumor Extractor

Udder Infusion Cannula

Udder Support

California Mastitis Test Kit

All of the above photos were taken from Veterinary Instruments and Equiptment- A Pocket Guide

Additional Instruments Useful In Teat Surgeries

Doyer Clamp- typically used for intestines but can be useful for clamping the teat for procedures such as teat infusions.

Larson’s Self Retaining Tube- used as a cannula that can be opened and closed when needed