|  |  |
| --- | --- |
| **Equipment & Indication** | **Example** |
| Surgical needles- different sizes and types are used in various procedures | * Four Point Block: 18gauge, 6mm needle * Peterson Nerve Block – 18 gauge needle, 10cm needle * 4 Point Block – 18 gauge, 9cm needle * Retrobulbar Block – 18 gauge, 9cm (half circle) needle |
| Syringes |  |
| Alcohol swabs |  |
| Surgical gloves |  |
| Halter and rope |  |
| Stanchion |  |
| Surgical scissors |  |
| Hemostats |  |
| Forceps |  |
| Scalpel blades and handles |  |
| Tongue depressor and jaeger plate- offers stability and protection for the ocular globe and cover the eyeball providing a rigid surface on which surgeons can perform lid dissection |  |
| Electric shavers |  |
| Gauze and cotton |  |
| Colibri Forceps: A Semi-sharp, fine tips eases grasping and holding the Corneal and Scleral Flap |  |
| Right Angled Forceps - used to hold tissue in place for eye removal procedures |  |
| Castroviejo eye speculum: Used to hold the eyelids open during optic surgery |  |